## ABOUT
Dataset | Buildings (PDPOC)
Description | Data from the Structural Engineers Association of California Post-Disaster Performance Observation Committee Earthquake Performance Evaluation Program, Courtesy of Jeff Hunt. Buildings within a 500 ft radius of a ground motion recording station with PGA >0.20g or PGV >20 cm/sec were evaluated. More information is available here: http://www.eqclearinghouse.org/2014-08-24-south-napa/files/2016/03/SEAOC_PDPOC_EPE_FT_JH_Napa_EQ_SEAOC_Webinar.pdf
Disclaimer | EERI does not guarantee the validity of these observations.
Attribution | Source: Buildings (PDPOC), Accessed through the South Napa Earthquake Data Archive Map, EERI, 2016.
Sample Citation | SEAOC Post-Disaster Performance Observation Committee Earthquake Performance Evaluation Program, 2014. Buildings (PDPOC) Dataset, data obtained from South Napa Earthquake Data Archive Map, Earthquake Engineering Research Institute, 2016, available at http://eqclearinghouse.org/map/2014-08-24-south-napa/ (accessed March 2016).

## DATA
Record ID | Earthquake | POD Name | Station Latitude | Station Longitude | Station PGA | Station PGV | Observer | Observation Date | Pod Building ID | Building Name | Building Latitude | Building Longitude | Address | City | State | Country | ASCE31 Building Type | Primary Occupancy | Number of Stories | Total Area (Sq. Ft.) | Construction Date | Structural Damage Level | Structural Damage Extent | Nonstructural Damage Level | Nonstructural Damage Extent | Repair Cost Ratio | SAP Placard | Collapse | Interior Access? | Long Form Status | Quality | Comments
1 | South Napa Earthquake | Main Street(Joe's) | 38.2988 | -122.2848 | 0.61G | 47cm/s | Scott Adan | August 29 2014 | 31, 32, 36 | Napa County Criminal Courthouse | 38.2975 | -122.2849 | 1111 3rd St | Napa | CA | USA | S2(EBF) | I | 3 | 45000 | 1996 | 0-None | 0 | 0-None | 0 | 0 | N | None | Yes | N | A-Excellent | SE of Record - Thornton Tomasetti - PBD. www.thorntontomasetti.com/projects/napa_county_criminal_divison_courthouse
2 | South Napa Earthquake | Main Street(Joe's) | 38.2988 | -122.2848 | 0.61G | 47cm/s | Scott Adan | August 29 2014 | 33 | Napa Law Center Bldg | 38.2977 | -122.2849 | 810-816 Brown Street | Napa | CA | USA | URM | B | 2 | 15000? | 1904 | 4-Heavy | 20 | 4-Heavy | 20 | 20-30 | R | Partial | No | N | C-Fair | Red Tag (8/25) "Unsafe Building"
3 | South Napa Earthquake | Main Street(Joe's) | 38.2988 | -122.2848 | 0.61G | 47cm/s | Scott Adan | August 29 2014 | 35 | Napa Co. Hall of Justic, Jail Annex | 38.2974 | -122.2851 | 1125 3rd Street | Napa | CA | USA | C3 | I | 3 | 55000+ | 1974/1989 | 2-Minor | 10 | 2-Minor | 10 | 10-20 | Y | None | Yes | N | B-Good | http://www.sacvee.com/2014/08/26/6656666/use-of-napa-county-hall-of-justice.html
4 | South Napa Earthquake | Main Street(Joe's) | 38.2988 | -122.2848 | 0.61G | 47cm/s | Scott Adan | August 29 2014 | 38, 39 | Alexandria Hotel and Annex | 38.2977 | -122.2849 | 810-844 Brown Street | Napa | CA | USA | URM | M | 3 | 29000 | 1910 | 4-Heavy | 20 | 4-Heavy | 20 | 30-40 | R | Partial | No | N | A-Excellent | partial upper story collapse
5 | South Napa Earthquake | Main Street(Joe's) | 38.2988 | -122.2848 | 0.61G | 47cm/s | Scott Adan | August 29 2014 | 40 | Wells Fargo (Bank of Napa) | 38.2984 | -122.2855 | 908 Brown St | Napa | CA | USA | URM | B | 1 | NA | 1923 | 2-Minor | 15 | 2-Minor | 10 | 10-20 | R | None | No | N | C-Fair | See also 903 Main St
6 | South Napa Earthquake | Main Street(Joe's) | 38.2988 | -122.2848 | 0.61G | 47cm/s | Scott Adan | August 29 2014 | 44 | Gordon Building | 38.2986 | -122.2867 | 1130 1st Street | Napa | CA | USA | URM | M | 2 | 19250 | 1928 | 4-Heavy | 30 | 1-Insignificant | 10 | 20-30 | R | None | No | N | B-Good | Red Tag(8/26):"Masonry column and wall sheared in rear, itnerior walls titled"
7 | South Napa Earthquake | Main Street(Joe's) | 38.2988 | -122.2848 | 0.61G | 47cm/s | Scott Adan | August 29 2014 | 45 | Napa County Offices | 38.2988 | -122.2863 | 1127 1st Street | Napa | CA | USA | S2? | I | 2 | 30000? | 1980S? | 2-Minor | 10 | 2-Minor | 10 | 10-20 | Y | None | No | N | C-Fair | Large disesel powered air handlers outside for ventilation
8 | South Napa Earthquake | Main Street(Joe's) | 38.2988 | -122.2848 | 0.61G | 47cm/s | Scott Adan | August 29 2014 | 46 | Inti | 38.2987 | -122.2865 | 1138 1st Street | Napa | CA | USA | URM |  | 1 | 3400 | 1900 | 2-Minor | 20 | 2-Minor | 15 | 20-30 | Y | None | No | N | C-Fair | http://commercial-properties.findthebest.com/l/5519685/1139-1st-st-Napa-CA-94559
9 | South Napa Earthquake | Main Street(Joe's) | 38.2988 | -122.2848 | 0.61G | 47cm/s | Scott Adan | August 29 2014 | 46.5 | Nakedwines.com | 38.2986 | -122.2866 | 1141 1st Street | Napa | CA | USA | URM | M | 1 | 4273 | 1900 | 1-Insignificant | 10 | 1-Insignificant | 10 | 2-10 | R, G | None | Yes | N | B-Good | Red tag (8/25) "Structural damage to brick wall, bricks fallen out, bolts on retro come loose; Green Tag(8/28) "None;" Building is retrofited
10 | South Napa Earthquake | Main Street(Joe's) | 38.2988 | -122.2848 | 0.61G | 47cm/s | Scott Adan | August 29 2014 | 47 | Napa Cigars, Napa Valley Tours | 38.2986 | -122.2867 | 1147 1st Street | Napa | CA | USA | URM | M | 1 | 3000? | 1950? | 0-None | 0 | 1-Insignificant | 5 | 2-10 | G | None | Yes | N | C-Fair | Windows broken and boarded up
11 | South Napa Earthquake | Main Street(Joe's) | 38.2988 | -122.2848 | 0.61G | 47cm/s | Scott Adan | August 29 2014 | 48 | Napa Co. Superior Court | 38.2979 | -122.2852 | 825 Brown Street | Napa | CA | USA | URM | I | 2 | 45000 | 1870 | 4-Heavy | 40 | 3-Moderate | 40 | 20-30 | R | Partial | No | N | B-Good | http://napavalleyregister.com/news/local/quake-damages-may-shut-historic-courthouse-for---years/article_f04bdcf8-7b6c-5e19-b476-f558ef305b6e.html
12 | South Napa Earthquake | Main Street(Joe's) | 38.2988 | -122.2848 | 0.61G | 47cm/s | Scott Adan | August 29 2014 | 49,50 | Napa County Admin. Bldg | 38.2963 | -122.2988 | 3rd St | Napa | CA | USA | S2 | I | 3 | 55000+ | 1989? | 0-None | 0 | 1-Insignificant | <5 | 2-10 | G | None | Yes | N | A-Excellent | Inspector Comments, "Structure is safe to enter, use caution, ceiling tiles, light fixtures unstable, secure mech systems" - Chris Jonas, ZFA
13 | South Napa Earthquake | Main Street(Joe's) | 38.2988 | -122.2848 | 0.61G | 47cm/s | Scott Adan | August 29 2014 | 51 | Young Building | 38.2972 | -122.2859 | 809 Coombs St | Napa | CA | USA | URM | M | 2 | 25000 | 1920 | 1-Insignificant | <10 | 1-Insignificant | <10 | 2-10 | Y | None | No | N | B-Good | http://www.loopnet.com/Listing/17660393/809-Coombs-St-Napa_CA/
14 | South Napa Earthquake | Main Street(Joe's) | 38.2988 | -122.2848 | 0.61G | 47cm/s | Scott Adan | August 29 2014 | 51.5 |  | 38.2974 | -122.286 | 821 Coombs St | Napa | CA | USA | URM | M | 1 | 2800 | 1910 | 0-None | 0 | 1-Insignificant | <10 | 2-10 | N | None | Yes | N | B-Good | http://commercial-properties.findthebest.com/l/3883488/821-Coombs-St-Napa-CA-94559
15 | South Napa Earthquake | Main Street(Joe's) | 38.2988 | -122.2848 | 0.61G | 47cm/s | Scott Adan | August 29 2014 | 52 | Napa Valley Hotel | 38.2975 | -122.2861 | 853 Coombs St | Napa | CA | USA | W1A/RM1 | R-1 | 2,3 | 14000 | 1963 | 1-Insignificant | <5 | 1-Insignificant | <5 | 2-10 | N | None | Yes | N | B-Good | http://commercial-properties.findthebest.com/l/6245824/853-Coombs-St-Napa-CA-94559
16 | South Napa Earthquake | Main Street(Joe's) | 38.2988 | -122.2848 | 0.61G | 47cm/s | Scott Adan | August 29 2014 | 53 | Native Sons Hall NSGW | 38.2982 | -122.2867 | 937 Coombs St | Napa | CA | USA | URM | M | 3 | 15000? | 1914 | 3-Moderate | 20 | 2-Minor | 15 | 20-30 | Y | None | No | N | B-Good | Yellow Tag: "Enter to clean and secure." Observed extensive cracks in upper parapet and other walls.
17 | South Napa Earthquake | Main Street(Joe's) | 38.2988 | -122.2848 | 0.61G | 47cm/s | Scott Adan | August 29 2014 | 62 | Goodman Library | 38.3004 | -122.3098 | 1st St | Napa | CA | USA | URM | I | 3 | 9000 | 1901 | 3-Moderate | 15 | 2-Minor | 15 | 10-20 | R | Partial | No | N | B-Good | Red Tag: "Unsafe Building" Severe parapet damage http://en.wikipedia.org/wiki/Goodman_Library
18 | South Napa Earthquake | Main Street(Joe's) | 38.2988 | -122.2848 | 0.61G | 47cm/s | Scott Adan | August 29 2014 | 63 | Migliavacca | 38.2984 | -122.2872 | 1227-1245 1st Street | Napa | CA | USA | URM | M | 1 | 6000 | 1916 | 2-Minor | 10 | 2-Minor | 5 | 2-10 | Y | None | No | N | B-Good | Yellow Tag: "Worker only until parapet repaired"
19 | South Napa Earthquake | Main Street(Joe's) | 38.2988 | -122.2848 | 0.61G | 47cm/s | Scott Adan | August 29 2014 | 64 | Darin Gun Exchange | 38.2979 | -122.2876 | 950 Randolph St | Napa | CA | USA | RM1 | M | 1 | 3066 | 1962 | 0-None | 0 | 1-Insignificant | <10 | 2-10 | N | None | No | N | A-Excellent | http://commercial-properties.findthebest.com/l/353795/950-Randolph-St-Napa-CA-94559
20 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 1 |  | 38.3304 | -122.3178 | 2000 Trower | Napa | CA | USA | W2? | Fire Station | 1 | 5000 | 1987 | 0-None | 0 | 0-None | 0 | 0 | N | None | Yes | N | B-Good | One story office attached to high bay. Fireman said no damage noticed(TV fell, fridge mooved). Some hairline finish crackingin high bay partitions appears old.
21 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 2 | Justin Sienna H.S. | 38.3308 | -122.3227 | 4026 Maher | Napa | CA | USA | W2 | E | 1 | 22000 | 1960 | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | D-Poor | Appears to be brick veneer (cavity based on weeps) over wood frame; several connected structures; no cracks at stucco corners
22 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 3 | Oventi Restaurant | 38.331 | -122.3168 | 1990 Trower | Napa | CA | USA | W2 | M | 1 | 1700 | 1970 | 0-None | 0 | 0-None | 0 | 0 | N | None | Yes | N | A-Excellent | Per owner: 40 yrs old, lots of content damage from falling bottles; did not sotice other damage. Vis: hardboard siding undamaged, no interior damage except possible wood window corner opening (photos)
23 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 4 | Napa Winery Inn | 38.3308 | -122.317 | 1998 Trower | Napa | CA | USA | W2 | R1 | 2 | 20000 | 1970? | 0-None | 0 | 1-Insignificant | 100 | 0 | N | None | Yes | N | A-Excellent | No damage to hoiz wood siding or exterior openings; reception noted intior drywall cracks (photos) and contents; open for business
24 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 5 |  | 38.3311 | -122.3164 | 3998 Klamath | Napa | CA | USA | W1 | R3 | 1 | 1700 | 1960? | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | B-Good | masonry fence standing;
25 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 6 |  | 38.3309 | -122.3162 | 3990 Klamath | Napa | CA | USA | W1 | R3 | 1 | 1700 | 1960? | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | B-Good | masonry chimney standing; no vis stucco damage
26 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 7 |  | 38.3295 | -122.3194 | 2085 Trower | Napa | CA | USA | W1 | R3 | 1 | 1700 | 1960? | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | B-Good | chimney standing
27 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 8 |  | 38.329 | -122.3194 | 3978 Raleigh | Napa | CA | USA | W1 | R3 | 1 | 1700 | 1960? | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | B-Good | HL cracks in stucco over garage - appear old; chimney standing
28 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 9 |  | 38.3289 | -122.3194 | 3972 Raleigh | Napa | CA | USA | W1 | R3 | 1 | 1700 | 1960? | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | B-Good | no vis stucco cracking; chimney fell in 2000 (per 3966) but standing now
29 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 10 |  | 38.3287 | -122.3193 | 3966 Raleigh | Napa | CA | USA | W1 | R3 | 1 | 1700 | 1960? | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | B-Good | Per owner: no damage; no vis damage
30 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2024 | 11 |  | 38.3286 | -122.3193 | 3960 Raleigh | Napa | CA | USA | W1 | R3 | 1 | 1700 | 1960? | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | B-Good | no vis stucco cracking; chimney fell in 2000 (per 3966) but standing now
31 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 12 |  | 38.3285 | -122.3193 | 3954 Raleigh | Napa | CA | USA | W1 | R3 | 1 | 1700 | 1960? | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | B-Good
32 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 13 |  | 38.3283 | -122.3193 | 3942 Raleigh | Napa | CA | USA | W1 | R3 | 1 | 1700 | 1960? | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | B-Good
33 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 14 |  | 38.3282 | -122.3194 | 3936 Raleigh | Napa | CA | USA | W1 | R3 | 1 | 1700 | 1960? | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | B-Good
34 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 15 |  | 38.3283 | -122.3194 | 3941 Raleigh | Napa | CA | USA | W1 | R3 | 1 | 1700 | 1960? | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | B-Good | Prefab?
35 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 16 |  | 38.3286 | -122.3194 | 3959 Raleigh | Napa | CA | USA | W1 | R3 | 1 | 1700 | 1960? | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | B-Good | Per owner: more damage in 1999, including shifted pool shell by a couple inches, but no damage this time.
36 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 17 |  | 38.3288 | -122.3194 | 3967 Raleigh | Napa | CA | USA | W1 | R3 | 1 | 1700 | 1960? | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | B-Good | Stucco cracks around garage door appear old
37 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 18 |  | 38.329 | -122.3195 | 3983 Raleigh | Napa | CA | USA | W1 | R3 | 1 | 1700 | 1960? | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | B-Good
38 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 19 |  | 38.3295 | -122.3188 | 3988 Briarwood | Napa | CA | USA | W1 | R3 | 1 | 1700 | 1960? | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | B-Good | HL stucco cracks at garage door
39 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 20 |  | 38.3293 | -122.3186 | 3980 Briarwood | Napa | CA | USA | W1 | R3 | 1 | 1700 | 1960? | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | B-Good | HL stucco cracks at garage door (perhaps old); Chimney stands
40 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 21 |  | 38.3292 | -122.3186 | 3976 Briarwood | Napa | CA | USA | W1 | R3 | 1 | 1700 | 1960? | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | B-Good | Chimney stands; stucco scratch coat throughout - no vis cracks
41 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 22 |  | 38.3291 | -122.3185 | 3968 Briarwood | Napa | CA | USA | W1 | R3 | 2 | 2500 | 1960? | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | B-Good | Split level - no indication of separation
42 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 23 |  | 38.3289 | -122.3185 | 3962 Briarwood | Napa | CA | USA | W1 | R3 | 2 | 2500 | 1960? | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | B-Good | Split level - no indication of separation; Chimney stands; garage stucco HL cracks but none at windows
43 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 24 |  | 38.3288 | -122.3184 | 3956 Briarwood | Napa | CA | USA | W1 | R3 | 1 | 1700 | 1960? | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | B-Good | HL stucco cracks at garage door; Chimney stands (appears original)
44 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 25 |  | 38.3286 | -122.3184 | 3948 Briarwood | Napa | CA | USA | W1 | R3 | 1 | 1700 | 1960? | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | B-Good | No stucco cracks
45 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 26 |  | 38.3285 | -122.3184 | 3942 Briarwood | Napa | CA | USA | W1 | R3 | 1 | 1700 | 1960? | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | B-Good | HL stucco cracks at garage door; Chimney stands
46 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 27 |  | 38.3283 | -122.3184 | 3934 Briarwood | Napa | CA | USA | W1 | R3 | 1 | 1700 | 1960? | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | B-Good | Conspicuous garage door stucco cracks
47 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 28 |  | 38.3283 | -122.3185 | 3933 Briarwood | Napa | CA | USA | W1 | R3 | 1 | 1700 | 1960? | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | B-Good | Chimney stands; stucco scratch coat throughout - no vis cracks
48 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 29 |  | 38.3284 | -122.3185 | 3941 Briarwood | Napa | CA | USA | W1 | R3 | 1 | 1700 | 1960? | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | B-Good | Chimney stands; stucco scratch coat throughout - no vis cracks
49 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 30 |  | 38.3288 | -122.3185 | 3955 Briarwood | Napa | CA | USA | W1 | R3 | 1 | 1700 | 1960? | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | B-Good | HL stucco cracks at garage door (old - painted over); Chimney stands
50 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 31 |  | 38.3289 | -122.3185 | 3963 Briarwood | Napa | CA | USA | W1 | R3 | 1 | 1700 | 1960? | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | B-Good | Chimney stands
51 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 32 |  | 38.3291 | -122.3186 | 3969 Briarwood | Napa | CA | USA | W1 | R3 | 1 | 1700 | 1960? | 0-None | 0 | 0-None | 0 | 0 | Y | None | No | N | B-Good | Yellow tag states shifting of support wall below overhang - not vis from street and nobody home
52 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 33 |  | 38.3292 | -122.3186 | 3977 Briarwood | Napa | CA | USA | W1 | R3 | 1 | 1700 | 1960? | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | B-Good | no garage cracks
53 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 34 |  | 38.3295 | -122.3192 | 2073 Trower | Napa | CA | USA | W1 | R3 | 1 | 1700 | 1960? | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | B-Good
54 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 35 |  | 38.3295 | -122.3176 | 3980/3978 Dunhill | Napa | CA | USA | W1 | R3 | 1 | 1700 | 1960? | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | B-Good | CMU fence stands
55 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 36 |  | 38.3294 | -122.3177 | 3972 Dunhill | Napa | CA | USA | W1 | R3 | 1 | 1700 | 1960? | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | B-Good
56 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 37 |  | 38.329 | -122.3176 | 3956 Dunhill | Napa | CA | USA | W1 | R3 | 1 | 1700 | 1960? | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | B-Good | chimney stands - appears original
57 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 38 |  | 38.3288 | -122.3175 | 3944 Dunhill | Napa | CA | USA | W1 | R3 | 1 | 1700 | 1960? | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | B-Good
58 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 39 |  | 38.3284 | -122.3172 | 3936 Pall Mall | Napa | CA | USA | W1 | R3 | 1 | 1700 | 1960? | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | B-Good
59 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 40 |  | 38.3284 | -122.3172 | 3924 Pall Mall | Napa | CA | USA | W1 | R3 | 1 | 1700 | 1960? | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | B-Good
60 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 41 |  | 38.3283 | -122.3176 | 3931 Dunhill | Napa | CA | USA | W1 | R3 | 1 | 1700 | 1960? | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | B-Good
61 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 42 |  | 38.3285 | -122.3176 | 3937 Dunhill | Napa | CA | USA | W1 | R3 | 1 | 1700 | 1960? | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | B-Good
62 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 43 |  | 38.3287 | -122.3176 | 3943 Dunhill | Napa | CA | USA | W1 | R3 | 1 | 1700 | 1960? | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | B-Good
63 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 44 |  | 38.3288 | -122.3176 | 3949 Dunhill | Napa | CA | USA | W1 | R3 | 1 | 1700 | 1960? | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | B-Good | chimney stands
64 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 45 |  | 38.3289 | -122.3176 | 3955 Dunhill | Napa | CA | USA | W1 | R3 | 1 | 1700 | 1960? | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | B-Good
65 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 46 |  | 38.3291 | -122.3177 | 3961 Dunhill | Napa | CA | USA | W1 | R3 | 1 | 1700 | 1960? | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | B-Good
66 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 47 |  | 38.3292 | -122.3177 | 3967 Dunhill | Napa | CA | USA | W1 | R3 | 2 | 2500 | 1960? | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | B-Good | split level - no separation seen
67 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 48 |  | 38.3293 | -122.3177 | 3973 Dunhill | Napa | CA | USA | W1 | R3 | 1 | 1700 | 1960? | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | B-Good
68 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 49 |  | 38.3295 | -122.3177 | 3979 Dunhill | Napa | CA | USA | W1 | R3 | 1 | 1700 | 1960? | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | B-Good
69 | South Napa Earthquake | Fire Station #3 | 38.3305 | -122.3185 | 0.43G | 93cm/s | Brian McDonald | August 31 2014 | 50 |  | 38.3296 | -122.3176 | 3983 Dunhill | Napa | CA | USA | W1 | R3 | 1 | 1700 | 1960? | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | B-Good | CMU fensce stands
70 | South Napa Earthquake | 1st & Main | 38.2988 | -122.2848 | 0.62G | 35cm/s-46cm/s | Fred Turner | August 29 2014 | 1A |  | 38.2986 | -122.282 | 820 3rd Street | Napa | CA | USA | C2A | M | 1 |  | 1900s | 1-Insignificant | 1 | 2-Minor | 5 | 1 | N | None | No | N | C-Fair | Strucco cracks @ window corners. Broken window over door
71 | South Napa Earthquake | 1st & Main | 38.2988 | -122.2848 | 0.62G | 35cm/s-46cm/s | Fred Turner | August 29 2014 | 1B | Psychic | 38.2986 | -122.282 | 818 3rd Street | Napa | CA | USA | W2 | M | 1 |  | 1900s | 0-None |  | 0-None |  |  | N | None | No | N | C-Fair
72 | South Napa Earthquake | 1st & Main | 38.2988 | -122.2848 | 0.62G | 35cm/s-46cm/s | Fred Turner | August 29 2014 | 1C | Hall of Gardeners | 38.2987 | -122.2818 | 814 3rd Street | Napa | CA | USA | W2 | M | 1 |  | 1900s | 0-None |  | 2-Minor |  | 1 | N | None | No | N | C-Fair | cracks brick veneers elev.
73 | South Napa Earthquake | 1st & Main | 38.2988 | -122.2848 | 0.62G | 35cm/s-46cm/s | Fred Turner | August 29 2014 | 1D | Aladdin BB | 38.2987 | -122.2818 | 812 3rd Street | Napa | CA | USA | C2A | M | 1 |  | 1900s | 1-Insignificant | 5 | 0-None |  | 1 | N | None | No | N | C-Fair
74 | South Napa Earthquake | 1st & Main | 38.2988 | -122.2848 | 0.62G | 35cm/s-46cm/s | Fred Turner | August 29 2014 | 1E | Rear | 38.2987 | -122.2818 | 812 3rd Street | Napa | CA | USA | RM1 | M | 1 |  | 1960 | 0-None |  | 0-None |  |  | N | None | No | N | D-Poor
75 | South Napa Earthquake | 1st & Main | 38.2988 | -122.2848 | 0.62G | 35cm/s-46cm/s | Fred Turner | August 29 2014 | 2 |  | 38.2986 | -122.2825 | 807 Soscol Avenue | Napa | CA | USA | RM1 | M | 1 |  | 1960 | 0-None |  | 0-None |  |  | N | None | Yes | N | B-Good | No disloged stored staked content
76 | South Napa Earthquake | 1st & Main | 38.2988 | -122.2848 | 0.62G | 35cm/s-46cm/s | Fred Turner | August 29 2014 | 3 |  | 38.2986 | -122.2825 | 807 Soscol Avenue | Napa | CA | USA | RM1 | M | 1 |  | 2008 | 0-None |  | 0-None |  |  | N | None | Yes | N | B-Good
77 | South Napa Earthquake | 1st & Main | 38.2988 | -122.2848 | 0.62G | 35cm/s-46cm/s | Fred Turner | August 29 2014 | 4 |  | 38.2986 | -122.2825 | 807 Soscol Avenue | Napa | CA | USA | RM1 | M | 1 |  | 1690-2008 | 0-None |  | 0-None |  |  |  |  | Yes | N | B-Good
78 | South Napa Earthquake | 1st & Main | 38.2988 | -122.2848 | 0.62G | 35cm/s-46cm/s | Fred Turner | August 29 2014 | 1A | Loose Cab | 38.2988 | -122.2823 | 820A Soscol Avenue | Napa | CA | USA | C2A | M | 1 |  |  | 1-Insignificant | 1 | 2-Minor | 5 | 1 | N | None | No | N | C-Fair
79 | South Napa Earthquake | 1st & Main | 38.2988 | -122.2848 | 0.62G | 35cm/s-46cm/s | Fred Turner | August 29 2014 | 6 |  | 38.2983 | -122.2829 | 920&930 3rd Street | Napa | CA | USA | URM | U | 2 |  | 1900s | 3-Moderate | 25 |  |  | 30 | Y | Partial | No | C | A-Excellent | Units above arch lintel disloged and fallen. Borreo Bldg
80 | South Napa Earthquake | 1st & Main | 38.2988 | -122.2848 | 0.62G | 35cm/s-46cm/s | Fred Turner | August 29 2014 | 12c | Burger Fi | 38.2994 | -122.285 | 967 1st Street | Napa | CA | USA |  | M | 1 |  | 2000s | 0-None |  | 0-None |  |  | G | None | No | N | B-Good
81 | South Napa Earthquake | 1st & Main | 38.2988 | -122.2848 | 0.62G | 35cm/s-46cm/s | Fred Turner | August 29 2014 | 12b | Bounty Hunter | 38.2994 | -122.285 | 975 1st Street | Napa | CA | USA | URM | M/B | 2 |  |  | 2-Minor | 10 |  |  |  | Y | None | No | C | D-Poor
82 | South Napa Earthquake | 1st & Main | 38.2988 | -122.2848 | 0.62G | 35cm/s-46cm/s | Fred Turner | August 29 2014 | 12a | Napa Valley Coffee Roasting Co | 38.2994 | -122.2853 | 948 1st Street | Napa | CA | USA | URM | M/B | 2 |  |  | 3-Moderate | 25 |  |  |  | Y | None | No | C | C-Fair
83 | South Napa Earthquake | 1st & Main | 38.2988 | -122.2848 | 0.62G | 35cm/s-46cm/s | Fred Turner | August 29 2014 | 13 |  | 38.3161 | -122.2954 | 100, 110 Main Street | Napa | CA | USA | S2 | M/B | 3 |  |  | 0-None |  | 3-Moderate | 20 | 5 | G | None | No | N | C-Fair
84 | South Napa Earthquake | 1st & Main | 38.2988 | -122.2848 | 0.62G | 35cm/s-46cm/s | Fred Turner | August 29 2014 | 14 | City Winery/ Opera House | 38.3161 | -122.2954 | 120 Main Street | Napa | CA | USA | URM | A | 3 |  |  | 0-None |  |  |  |  | G | None | No | N | C-Fair
85 | South Napa Earthquake | 1st & Main | 38.2988 | -122.2848 | 0.62G | 35cm/s-46cm/s | Fred Turner | August 29 2014 | 15 |  | 38.2997 | -122.2858 | 1040 Main Street | Napa | CA | USA | RMS2 | B | 3 |  |  | 3-Moderate | 20 |  |  | 20 | Y | None | No | C | B-Good | Wolk/ Thompson
86 | South Napa Earthquake | 1st & Main | 38.2988 | -122.2848 | 0.62G | 35cm/s-46cm/s | Fred Turner | August 29 2014 | 11 |  | 38.2986 | -122.285 | 902 Main Street | Napa | CA | USA | URM | M | 1 |  |  | 2-Minor | 5 | 0-None |  |  | G | None | P | C | C-Fair | instrument on site. Downtown Joe's
87 | South Napa Earthquake | 1st & Main | 38.2988 | -122.2848 | 0.62G | 35cm/s-46cm/s | Fred Turner | August 29 2014 | 29 |  | 38.298 | -122.2845 | 807 Main St | Napa | CA | USA | URM | RM | 1 | [7 empty] | R | None | No | N | C-Fair | Adjaceny falling risk
88 | South Napa Earthquake | 1st & Main | 38.2988 | -122.2848 | 0.62G | 35cm/s-46cm/s | Fred Turner | August 29 2014 | 28 | Velo Pizzerio | 38.298 | -122.2846 | 813 Main St | Napa | CA | USA | URM | RM | 3 |  |  | 1-Insignificant |  | 1-Insignificant | Elev serstrip |  | Y | None | Yes | N | B-Good | The Thomas Resturant - Fagliants
89 | South Napa Earthquake | 1st & Main | 38.2988 | -122.2848 | 0.62G | 35cm/s-46cm/s | Fred Turner | August 29 2014 | 10 |  | 38.2974 | -122.284 | 770 Main St | Napa | CA | USA | URM | M/B | 3 |  | 2000s | 0-None |  | 0-None |  |  | G | None | Yes | N | C-Fair
90 | South Napa Earthquake | 1st & Main | 38.2988 | -122.2848 | 0.62G | 35cm/s-46cm/s | Fred Turner | August 29 2014 |  |  | 38.2964 | -122.2918 | 1700 2nd St | Napa | CA | USA | RM /CSA | B | 3 |  | 1970s | 3-Moderate |  | 4-Heavy | 20 |  | R,Y | Partial | Yes | C | B-Good
91 | South Napa Earthquake | 1st & Main | 38.2988 | -122.2848 | 0.62G | 35cm/s-46cm/s | Fred Turner | August 29 2014 |  |  | 38.2974 | -122.289 | 1455-1465 1st Street | Napa | CA | USA | S1A/ S1 | B | 3 |  | 2009 | 0-None |  | 3-Moderate | 20 |  | G | None | Yes | C | A-Excellent | Rear Wall Separated
92 | South Napa Earthquake | 1st & Main | 38.2988 | -122.2848 | 0.62G | 35cm/s-46cm/s | Fred Turner | August 29 2014 | 8 | Riverfront Residences | 38.2968 | -122.2835 | 650-588 Main Street | Napa | CA | USA | W1A/RM2 | R/M | 4 |  |  | 0-None |  |  |  |  | G | None | No | N | C-Fair
93 | South Napa Earthquake | Vallejo Hwy 37 | 38.1216 | -122.2752 | 19.82G | 19.0cm/s | Jeff Kovach | August 24 2014 |  | Lighthouse Apartments | 38.1209 | -122.2738 | 245 Lighthouse | Vallejo | CA | USA | W1A | R2 | 2 | 40000 | 1970 | 0-None | 0 | 0-None | 0 | 0 | N | None | No | N | A-Excellent
94 | South Napa Earthquake | Vallejo Hwy 38 | 38.1216 | -122.2752 | 19.82G | 19.0cm/s | Jeff Kovach | August 24 2015 |  | Lighthouse Apartments | 38.1209 | -122.2738 |  | Vallejo | CA | USA | [15 empty] | Spoke to residents, no damage
95 | South Napa Earthquake | Vallejo Hwy 37 | 38.1216 | -122.2752 | 19.82G | 19.0cm/s | Jeff Kovach | August 24 2014 |  | Tony's Furniture Refinishing | 38.11 | -122.2573 | 345 Tennessee | Vallejo | CA | USA | C1 | M | 1 | 50000 | 1960 | 1-Insignificant | 5 | 1-Insignificant | 10 | 5 | N | None | Yes | N | A-Excellent | Storefront fell & broke cracking of concrete beams (greather than 1 mile from pod)
96 | South Napa Earthquake | Vallejo Hwy 37 | 38.1216 | -122.2752 | 19.82G | 19.0cm/s | Jeff Kovach | August 24 2014 |  | Napa Valley College | 38.2609 | -122.2711 | 2277 Hwy 221 | Napa | CA | USA | various | college | 1-2 |  | 1970-current | 0-None | 0 | 1-Insignificant | 10 | 5 | N | None | No | N | C-Fair | Exterior walk of campus. No access to interior and no exterior damage
97 | South Napa Earthquake | Vallejo Hwy 38 | 38.1216 | -122.2752 | 19.82G | 19.0cm/s | Jeff Kovach | August 24 2015 |  | Napa Valley College Physical Sciences Building | 38.2609 | -122.2711 | 2277 Hwy 221 | Napa | CA | USA | C2 | E | 2 + basement | 60000 | 1970 | 0-None | 0 | 1-Insignificant | 15 | 7 | N | None | Yes | N | B-Good | Storage racks destroyed, majority of interior contents were on floor

## PHOTOS
Record ID | Photographer | Photo Copyright Holder | Caption | File Location
20 | Brian McDonald | Brian McDonald | 2000 Trower | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0124.JPG
20 | Brian McDonald | Brian McDonald | 2000 Trower | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0125.JPG
20 | Brian McDonald | Brian McDonald | 2000 Trower | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0126.JPG
20 | Brian McDonald | Brian McDonald | 2000 Trower | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0127.JPG
20 | Brian McDonald | Brian McDonald | 2000 Trower | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0128.JPG
20 | Brian McDonald | Brian McDonald | 2000 Trower | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0129.JPG
20 | Brian McDonald | Brian McDonald | 2000 Trower | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0130.JPG
20 | Brian McDonald | Brian McDonald | 2000 Trower | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0131.JPG
20 | Brian McDonald | Brian McDonald | 2000 Trower | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0132.JPG
20 | Brian McDonald | Brian McDonald | 2000 Trower | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0133.JPG
20 | Brian McDonald | Brian McDonald | 2000 Trower | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0134.JPG
20 | Brian McDonald | Brian McDonald | 2000 Trower | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0135.JPG
20 | Brian McDonald | Brian McDonald | 2000 Trower | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0136.JPG
20 | Brian McDonald | Brian McDonald | 2000 Trower | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0137.JPG
20 | Brian McDonald | Brian McDonald | 2000 Trower | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0138.JPG
20 | Brian McDonald | Brian McDonald | 2000 Trower | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0139.JPG
20 | Brian McDonald | Brian McDonald | 2000 Trower | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0140.JPG
20 | Brian McDonald | Brian McDonald | 2000 Trower | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0141.JPG
20 | Brian McDonald | Brian McDonald | 2000 Trower | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0142.JPG
20 | Brian McDonald | Brian McDonald | 2000 Trower | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0143.JPG
20 | Brian McDonald | Brian McDonald | 2000 Trower | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0144.JPG
20 | Brian McDonald | Brian McDonald | 2000 Trower | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0145.JPG
20 | Brian McDonald | Brian McDonald | 2000 Trower | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0146.JPG
20 | Brian McDonald | Brian McDonald | 2000 Trower | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0147.JPG
21 | Brian McDonald | Brian McDonald | 4026 Maher | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0148.JPG
21 | Brian McDonald | Brian McDonald | 4026 Maher | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0149.JPG
21 | Brian McDonald | Brian McDonald | 4026 Maher | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0150.JPG
21 | Brian McDonald | Brian McDonald | 4026 Maher | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0151.JPG
21 | Brian McDonald | Brian McDonald | 4026 Maher | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0152.JPG
21 | Brian McDonald | Brian McDonald | 4026 Maher | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0153.JPG
21 | Brian McDonald | Brian McDonald | 4026 Maher | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0154.JPG
21 | Brian McDonald | Brian McDonald | 4026 Maher | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0155.JPG
21 | Brian McDonald | Brian McDonald | 4026 Maher | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0156.JPG
21 | Brian McDonald | Brian McDonald | 4026 Maher | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0157.JPG
21 | Brian McDonald | Brian McDonald | 4026 Maher | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0158.JPG
21 | Brian McDonald | Brian McDonald | 4026 Maher | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0159.JPG
21 | Brian McDonald | Brian McDonald | 4026 Maher | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0160.JPG
21 | Brian McDonald | Brian McDonald | 4026 Maher | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0161.JPG
21 | Brian McDonald | Brian McDonald | 4026 Maher | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0162.JPG
21 | Brian McDonald | Brian McDonald | 4026 Maher | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0163.JPG
21 | Brian McDonald | Brian McDonald | 4026 Maher | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0164.JPG
21 | Brian McDonald | Brian McDonald | 4026 Maher | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0165.JPG
21 | Brian McDonald | Brian McDonald | 4026 Maher | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0166.JPG
21 | Brian McDonald | Brian McDonald | 4026 Maher | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0167.JPG
21 | Brian McDonald | Brian McDonald | 4026 Maher | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0168.JPG
21 | Brian McDonald | Brian McDonald | 4026 Maher | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0169.JPG
21 | Brian McDonald | Brian McDonald | 4026 Maher | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0170.JPG
21 | Brian McDonald | Brian McDonald | 4026 Maher | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0171.JPG
21 | Brian McDonald | Brian McDonald | 4026 Maher | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0172.JPG
22 | Brian McDonald | Brian McDonald | 1990 Trower | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0173.JPG
22 | Brian McDonald | Brian McDonald | 1990 Trower | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0174.JPG
22 | Brian McDonald | Brian McDonald | 1990 Trower | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0175.JPG
22 | Brian McDonald | Brian McDonald | 1990 Trower | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0176.JPG
22 | Brian McDonald | Brian McDonald | 1990 Trower | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0177.JPG
22 | Brian McDonald | Brian McDonald | 1990 Trower | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0178.JPG
22 | Brian McDonald | Brian McDonald | 1990 Trower | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0179.JPG
22 | Brian McDonald | Brian McDonald | 1990 Trower | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0180.JPG
22 | Brian McDonald | Brian McDonald | 1990 Trower | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0181.JPG
22 | Brian McDonald | Brian McDonald | 1990 Trower | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0182.JPG
22 | Brian McDonald | Brian McDonald | 1990 Trower | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0183.JPG
23 | Brian McDonald | Brian McDonald | 1998 Trower | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0184.JPG
23 | Brian McDonald | Brian McDonald | 1998 Trower | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0185.JPG
23 | Brian McDonald | Brian McDonald | 1998 Trower | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0186.JPG
24 | Brian McDonald | Brian McDonald | 3998 Klamath | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0187.JPG
25 | Brian McDonald | Brian McDonald | 3990 Klamath | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0188.JPG
25 | Brian McDonald | Brian McDonald | 3990 Klamath | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0189.JPG
25 | Brian McDonald | Brian McDonald | 3990 Klamath | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0190.JPG
25 | Brian McDonald | Brian McDonald | 3990 Klamath | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0191.JPG
25 | Brian McDonald | Brian McDonald | 3990 Klamath | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0192.JPG
26 | Brian McDonald | Brian McDonald | 2085 Trower | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0193.JPG
26 | Brian McDonald | Brian McDonald | 2085 Trower | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0194.JPG
27 | Brian McDonald | Brian McDonald | 3978 Raleigh | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0195.JPG
27 | Brian McDonald | Brian McDonald | 3978 Raleigh | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0196.JPG
27 | Brian McDonald | Brian McDonald | 3978 Raleigh | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0197.JPG
27 | Brian McDonald | Brian McDonald | 3978 Raleigh | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0198.JPG
28 | Brian McDonald | Brian McDonald | 3972 Raleigh | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0199.JPG
29 | Brian McDonald | Brian McDonald | 3966 Raleigh | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0200.JPG
30 | Brian McDonald | Brian McDonald | 3960 Raleigh | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0201.JPG
30 | Brian McDonald | Brian McDonald | 3960 Raleigh | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0202.JPG
31 | Brian McDonald | Brian McDonald | 3954 Raleigh | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0203.JPG
32 | Brian McDonald | Brian McDonald | 3942 Raleigh | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0205.JPG
33 | Brian McDonald | Brian McDonald | 3936 Raleigh | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0206.JPG
33 | Brian McDonald | Brian McDonald | 3936 Raleigh | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0207.JPG
33 | Brian McDonald | Brian McDonald | 3936 Raleigh | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0208.JPG
34 | Brian McDonald | Brian McDonald | 3941 Raleigh | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0209.JPG
35 | Brian McDonald | Brian McDonald | 3959 Raleigh | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0210.JPG
36 | Brian McDonald | Brian McDonald | 3967 Raleigh | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0211.JPG
36 | Brian McDonald | Brian McDonald | 3967 Raleigh | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0212.JPG
36 | Brian McDonald | Brian McDonald | 3967 Raleigh | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0213.JPG
36 | Brian McDonald | Brian McDonald | 3967 Raleigh | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0214.JPG
37 | Brian McDonald | Brian McDonald | 3983 Raleigh | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0215.JPG
38 | Brian McDonald | Brian McDonald | 3988 Briarwood | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0216.JPG
38 | Brian McDonald | Brian McDonald | 3988 Briarwood | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0217.JPG
39 | Brian McDonald | Brian McDonald | 3980 Briarwood | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0218.JPG
39 | Brian McDonald | Brian McDonald | 3980 Briarwood | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0219.JPG
40 | Brian McDonald | Brian McDonald | 3976 Briarwood | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0220.JPG
41 | Brian McDonald | Brian McDonald | 3968 Briarwood | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0221.JPG
42 | Brian McDonald | Brian McDonald | 3962 Briarwood | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0222.JPG
42 | Brian McDonald | Brian McDonald | 3962 Briarwood | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0223.JPG
42 | Brian McDonald | Brian McDonald | 3962 Briarwood | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0224.JPG
43 | Brian McDonald | Brian McDonald | 3956 Briarwood | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0225.JPG
44 | Brian McDonald | Brian McDonald | 3948 Briarwood | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0226.JPG
44 | Brian McDonald | Brian McDonald | 3948 Briarwood | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0227.JPG
44 | Brian McDonald | Brian McDonald | 3948 Briarwood | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0228.JPG
45 | Brian McDonald | Brian McDonald | 3942 Briarwood | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0229.JPG
45 | Brian McDonald | Brian McDonald | 3942 Briarwood | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0230.JPG
45 | Brian McDonald | Brian McDonald | 3942 Briarwood | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0231.JPG
45 | Brian McDonald | Brian McDonald | 3942 Briarwood | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0232.JPG
46 | Brian McDonald | Brian McDonald | 3934 Briarwood | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0233.JPG
46 | Brian McDonald | Brian McDonald | 3934 Briarwood | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0234.JPG
46 | Brian McDonald | Brian McDonald | 3934 Briarwood | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0235.JPG
47 | Brian McDonald | Brian McDonald | 3933 Briarwood | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0236.JPG
48 | Brian McDonald | Brian McDonald | 3941 Briarwood | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0237.JPG
49 | Brian McDonald | Brian McDonald | 3955 Briarwood | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0238.JPG
49 | Brian McDonald | Brian McDonald | 3955 Briarwood | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0239.JPG
50 | Brian McDonald | Brian McDonald | 3963 Briarwood | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0240.JPG
51 | Brian McDonald | Brian McDonald | 3969 Briarwood | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0241.JPG
51 | Brian McDonald | Brian McDonald | 3969 Briarwood | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0242.JPG
52 | Brian McDonald | Brian McDonald | 3977 Briarwood | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0243.JPG
53 | Brian McDonald | Brian McDonald | 2073 Trower | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0244.JPG
54 | Brian McDonald | Brian McDonald | 3980/3978 Dunhill | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0245.JPG
55 | Brian McDonald | Brian McDonald | 3972 Dunhill | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0246.JPG
56 | Brian McDonald | Brian McDonald | 3956 Dunhill | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0247.JPG
57 | Brian McDonald | Brian McDonald | 3944 Dunhill | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0249.JPG
58 | Brian McDonald | Brian McDonald | 3936 Pall Mall | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0250.JPG
59 | Brian McDonald | Brian McDonald | 3924 Pall Mall | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0251.JPG
60 | Brian McDonald | Brian McDonald | 3931 Dunhill | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0252.JPG
61 | Brian McDonald | Brian McDonald | 3937 Dunhill | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0253.JPG
62 | Brian McDonald | Brian McDonald | 3943 Dunhill | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0254.JPG
63 | Brian McDonald | Brian McDonald | 3949 Dunhill | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0255.JPG
64 | Brian McDonald | Brian McDonald | 3955 Dunhill | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0256.JPG
65 | Brian McDonald | Brian McDonald | 3961 Dunhill | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0257.JPG
66 | Brian McDonald | Brian McDonald | 3967 Dunhill | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0258.JPG
67 | Brian McDonald | Brian McDonald | 3973 Dunhill | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0259.JPG
68 | Brian McDonald | Brian McDonald | 3979 Dunhill | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0260.JPG
69 | Brian McDonald | Brian McDonald | 3983 Dunhill | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0261.JPG
69 | Brian McDonald | Brian McDonald | 3983 Dunhill | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0262.JPG
69 | Brian McDonald | Brian McDonald | 3983 Dunhill | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0263.JPG
69 | Brian McDonald | Brian McDonald | 3983 Dunhill | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0264.JPG
69 | Brian McDonald | Brian McDonald | 3983 Dunhill | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/McDonaldDSC_0265.JPG
70 | Fred Turner | Fred Turner | 820 3rd St. S Elev Napa Valley Classics 1 story concrete wall bldg with steel roof. | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_003.JPG
71 | Fred Turner | Fred Turner | 818 Street south elevation Psychic Reader | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_004.JPG
71 | Fred Turner | Fred Turner | 818 third Street northeast elevation wood frame siding back side of Psychic commercial storefront | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_038.JPG
72 | Fred Turner | Fred Turner | 814 3rd Street Hall of gamers south elevation | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_005.JPG
72 | Fred Turner | Fred Turner | 814 3rd Street south east elevation two story wood frame building | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_007.JPG
72 | Fred Turner | Fred Turner | 814 3rd Street south elevation Hall of Gamerz closeup of brick veneer cracks over window | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_012.JPG
72 | Fred Turner | Fred Turner | North elevation 81 4 3rd Street Hall of GamerZ two story wood frame bldg with horizontal siding no damage observed | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_037.JPG
73 | Fred Turner | Fred Turner | 812 Aladdin Bail Bonds 3rd Street S Elev | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_006.JPG
73 | Fred Turner | Fred Turner | 812 3rd Street South east elevation Aladdin bail bonds 1 story concrete wall building with wood? roof | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_008.JPG
73 | Fred Turner | Fred Turner | 812 3rd Street Aladdin bail bond close up of wall cracks south elevation | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_010.JPG
73 | Fred Turner | Fred Turner | 812 3rd Street Aladdin bail bond close up of wall cracks south elevation at corner of window below sill | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_011.JPG
73 | Fred Turner | Fred Turner | 812 3rd Street Aladdin Bail Bonds east elevation | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_013.JPG
73 | Fred Turner | Fred Turner | 812 3rd Street Aladdin Bail Bonds east elevation close-up of cracks mid span of diaphragm in wall | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_014.JPG
74 | Fred Turner | Fred Turner | Bldg 1E at 812 3rd Street Aladdin Bail Bonds rear building concrete masonry unit 1 strory east elevation | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_015.JPG
75 | Fred Turner | Fred Turner | Bldg 2 812 third Street east elevation rear building concrete masonry unit Ivy covered see door on right next image | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_016.JPG
75 | Fred Turner | Fred Turner | Bldg 2 behind 812 3rd Street east elevation rear building concrete masonry unit door opening | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_017.JPG
75 | Fred Turner | Fred Turner | -- | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_018.JPG
75 | Fred Turner | Fred Turner | 807 Soscol Ave Building 2 Interiors no disloding of stacked contents during earthquake steel roof with wood sheathing | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_023.JPG
75 | Fred Turner | Fred Turner | -- | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_024.JPG
75 | Fred Turner | Fred Turner | 807 Soscol Ave Building 2 Interior steel roof with wood sheathing Building 3 as viewed through windows | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_025.JPG
75 | Fred Turner | Fred Turner | Bldg 2 807 Soscol Ave SW Elevation CMU walls with steel framed roof and wood sheathing | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_026.JPG
75 | Fred Turner | Fred Turner | Bldg 2 807 Soscol Ave S Elevation 1 story CMU walls with steel framed roof and wood sheathing | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_027.JPG
75 | Fred Turner | Fred Turner | 807 SoscolAvenue SW Elevation Gelow Borreson Gelow one-story concrete masonry unit with steel Butler roof framing system | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_028.JPG
75 | Fred Turner | Fred Turner | 807 Soscol Ave S Elevation Gelow Borreson Gelow one-story concrete masonry unit bldg with steel Butler roof framing system | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_029.JPG
75 | Fred Turner | Fred Turner | Bldg 2 behind 812 3rd St. W Elevation N end 1 story CMU | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_033.JPG
75 | Fred Turner | Fred Turner | Bldg 2 behind 812 3rd St. W Elevation Middle 1 story CMU | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_034.JPG
75 | Fred Turner | Fred Turner | Bldg 2 behind 812 3rd St. W Elevation S end 1 story CMU | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_035.JPG
75 | Fred Turner | Fred Turner | Bldg 2 behind 812 3rd St. W Elevation S end 1 story CMU | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_036.JPG
76 | Fred Turner | Fred Turner | Building 3 east elevation concrete masonry unit owner reports building used to extent to the right gravel edge but was reduced in size for flood protection and rebuilt recently - No damage observed | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_019.JPG
76 | Fred Turner | Fred Turner | Building 3 north east elevation one-story concrete masonry unit corrugated steel upper wall cladding | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_020.JPG
77 | Fred Turner | Fred Turner | Building 4 behind 807 Soscol Ave North elevation concrete masonry unit no damaged observed. Building was reported shortened in length as a flood protection measure and used to extend out to edge of gravel in foregound | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_021.JPG
77 | Fred Turner | Fred Turner | Building 4 behind 807 Soscol Ave North elevation concrete masonry unit no damaged observed. Building was reported shortened in length as a flood protection measure and used to extend out to edge of gravel in foregound | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_022.JPG
78 | Fred Turner | Fred Turner | 828 Soscol Avenue west elevation loose caboose hobbies 1 story concrete wall building with steel framed roofing system | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_030.JPG
78 | Fred Turner | Fred Turner | 828 Soscol Avenue north elevation corrugated siding and built-up roofing beyond concrete wall on the right W elevation | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_031.JPG
78 | Fred Turner | Fred Turner | 828 Soscol Avenue northeast elevation corrugated siding Bldg 1A | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_032.JPG
79 | Fred Turner | Fred Turner | Borreo Building 6 east elevation 2 story URM at corner Soscol Ave and 3rd St. Napa | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_039.JPG
79 | Fred Turner | Fred Turner | Borreo Building 6 south west elevation NW Corner 3rd St. and Soscol Ave | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_041.JPG
79 | Fred Turner | Fred Turner | Borreo Building 6 south elevation East End at NW Corner 3rd St. and Soscol Ave | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_042.JPG
79 | Fred Turner | Fred Turner | Borreo Building 6 south elevation west end at NW Corner 3rd St. and Soscol Ave | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_043.JPG
79 | Fred Turner | Fred Turner | Borreo Building 6 south elevation closeup of missing masonry unit at arched lintel at NW Corner 3rd St. and Soscol Ave | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_044.JPG
79 | Fred Turner | Fred Turner |  | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_045.JPG
79 | Fred Turner | Fred Turner | Borreo Building 6 south elevation closeup of cracked morter at masonry units at arched lintel at NW Corner 3rd St. and Soscol Ave | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_046.JPG
79 | Fred Turner | Fred Turner | Borreo Building 6 south elevation west end at NW Corner 3rd St. and Soscol Ave | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_047.JPG
79 | Fred Turner | Fred Turner | Borreo Building 6 south west elevation at NW Corner 3rd St. and Soscol Ave | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_048.JPG
79 | Fred Turner | Fred Turner | Borreo Building 6 Yello Tag south elevation at NW Corner 3rd St. and Soscol Ave | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_049.JPG
79 | Fred Turner | Fred Turner | Borreo Building 6 East elevation closeup at top S wall parapet at NW Corner 3rd St. and Soscol Ave | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_050.JPG
79 | Fred Turner | Fred Turner | Borreo Building 6 East elevation closeup arched window at NW Corner 3rd St. and Soscol Ave | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_051.JPG
79 | Fred Turner | Fred Turner | Borreo Building 6 East elevation closeup at top N wall parapet at NW Corner 3rd St. and Soscol Ave | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_052.JPG
79 | Fred Turner | Fred Turner | Borreo Building 6 east elevation door closeup at ground level at NW Corner 3rd St. and Soscol Ave | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_053.JPG
79 | Fred Turner | Fred Turner | Borreo Building 6 N elevation at NW Corner 3rd St. and Soscol Ave | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_054.JPG
79 | Fred Turner | Fred Turner |  | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_055.JPG
79 | Fred Turner | Fred Turner |  | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_056.JPG
79 | Fred Turner | Fred Turner | Borreo Building 6 at NW Corner 3rd St. and Soscol Ave N elevation closeup of upper corner on E end | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_057.JPG
79 | Fred Turner | Fred Turner | Borreo Building 6 at NW Corner 3rd St. and Soscol Ave N elevation closeup of upper corner at W end | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_058.JPG
79 | Fred Turner | Fred Turner |  | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_059.JPG
79 | Fred Turner | Fred Turner | Building 6 in background and Napa River from West Side Sheet Piling in progress | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_131.JPG
79 | Fred Turner | Fred Turner | Building 6 W Elev | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_132.JPG
79 | Fred Turner | Fred Turner |  | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_144.JPG
80 | Fred Turner | Fred Turner | Bldg 12C S Elevation 967 1st St. Green Tagged | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_124.JPG
81 | Fred Turner | Fred Turner | 975 1st St. Bldg 12B Bounty Hunter Restaurant 2 story retrofitted URM SE Elevation | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_084.JPG
81 | Fred Turner | Fred Turner | 975 1st St. Bldg 12B Bounty Hunter Restaurant 2 story retrofitted URM SE Elevation Closeup of SE Upper wall corner | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_085.JPG
81 | Fred Turner | Fred Turner | 975 Main St. Bldg 12B Bounty Hunter S Elev | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_120.JPG
81 | Fred Turner | Fred Turner | 975 Main St. Bldg 12B Bounty Hunter S Elev Yellow Tag | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_121.JPG
81 | Fred Turner | Fred Turner | 975 Main St. Bldg 12B Bounty Hunter S Elev Closeup of upper right wall corner at E end | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_122.JPG
81 | Fred Turner | Fred Turner | 975 Main St. Bldg 12B Bounty Hunter S Elev Closeup of upper left wall corner at W end | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_123.JPG
81 | Fred Turner | Fred Turner | 975 Main St. Bldg 12B Bounty Hunter Upper SE Elev thrubolts on E elev | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_125.JPG
81 | Fred Turner | Fred Turner | 975 Main St. Bldg 12B Bounty Hunter SW Elev | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_127.JPG
82 | Fred Turner | Fred Turner | Bldg 12A 948 Main St. at SE Corner 1st St. Napa Valley Coffee Roasting Company N Elevation Cupola on right Cracks along piers next to round window openings at 1st level | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_086.JPG
82 | Fred Turner | Fred Turner | Bldg 12A 948 Main St. at SE Corner 1st St. Napa Valley Coffee Roasting Company N Elevation Cupola on right Cracks along piers next to round window openings at 1st level | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_087.JPG
82 | Fred Turner | Fred Turner | Bldg 12A 948 Main St. at SE Corner 1st St. Napa Valley Coffee Roasting Company N Elevation Cracks along piers next to round window openings at 1st level Closeup | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_088.JPG
82 | Fred Turner | Fred Turner | Bldg 12A 948 Main St. at SE Corner 1st St. Napa Valley Coffee Roasting Company N Elevation Cracks above arched lintel at 1st level Closeup | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_089.JPG
82 | Fred Turner | Fred Turner | Bldg 12A 948 Main St. at SE Corner 1st St. Napa Valley Coffee Roasting Company N Elevation Cracks along piers next to round window openings at 1st level Closeup | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_090.JPG
82 | Fred Turner | Fred Turner | 948 Main St. Bldg 12A Napa Valley Roasting Co NW Elevation at SE corner 1st St. | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_105.JPG
82 | Fred Turner | Fred Turner | 948 Main St. Bldg 12A Napa Valley Roasting Co W Elevation N End | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_106.JPG
82 | Fred Turner | Fred Turner | 948 Main St. Bldg 12A Napa Valley Roasting Co W Elevation Closeup of cracks at arched lintel 2nd fl broken window | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_107.JPG
82 | Fred Turner | Fred Turner | 942 Main St. Bldg 12A Napa Valley Roasting Co W Elevation S End | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_108.JPG
82 | Fred Turner | Fred Turner | 942 Main St. Bldg 12A Napa Valley Roasting Co W Elevation S End Closeup of cracks above middle arched lintel | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_109.JPG
82 | Fred Turner | Fred Turner | 942 Main St. Bldg 12A Napa Valley Roasting Co W Elevation SW Corner vertical crack at wall intersection | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_110.JPG
82 | Fred Turner | Fred Turner | 942 Main St. Bldg 12A Napa Valley Roasting Co W Elevation SW Corner Yellow Tag | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_111.JPG
82 | Fred Turner | Fred Turner | 942 Main St. Bldg 12A Napa Valley Roasting Co W Elevation SW Corner Yellow Tag Part 2 | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_112.JPG
82 | Fred Turner | Fred Turner | 942 Main St. Bldg 12A Napa Valley Roasting Co W Elevation S Elevation W end | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_113.JPG
82 | Fred Turner | Fred Turner | 942 Main St. Bldg 12A Napa Valley Roasting Co W Elevation S Elevation closeup of cracks | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_114.JPG
82 | Fred Turner | Fred Turner | 942 Main St. Bldg 12A Napa Valley Roasting Co W Elevation S Elevation E end | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_115.JPG
82 | Fred Turner | Fred Turner | 942 Main St. Bldg 12A Napa Valley Roasting Co W Elevation S Elevation E end Closeup of cracks at lower level Bounty Hunter to right | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_116.JPG
82 | Fred Turner | Fred Turner | 942 Main St. Bldg 12A Napa Valley Roasting Co SW Corner Elevation Bounty Hunter to Right | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_117.JPG
82 | Fred Turner | Fred Turner | 942 Main St. Bldg 12A Napa Valley Roasting Co SW Corner Elevation Closeup of cracks | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_118.JPG
82 | Fred Turner | Fred Turner | 942 Main St. Bldg 12A Napa Valley Roasting Co SW Corner Elevation Closeup of upper wall intersection, CMU lintel and throughbolts | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_119.JPG
83 | Fred Turner | Fred Turner | Building 13 south east elevation Chatterbox Steel Braced frame with drywall damage on interiors | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_068.JPG
83 | Fred Turner | Fred Turner | Building 13 1000 Main St. south elevation East End Chatterbox 3 story Steel braced frame with interior drywall damage being removed at time of image | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_072.JPG
83 | Fred Turner | Fred Turner |  | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_073.JPG
83 | Fred Turner | Fred Turner | Building 13 1000 Main St. east elevation close-up steel bridge frames second level | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_074.JPG
83 | Fred Turner | Fred Turner |  | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_075.JPG
83 | Fred Turner | Fred Turner | Building 13 drywall damage demolition and removal from site under way | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_076.JPG
83 | Fred Turner | Fred Turner | 1000 Main St. East Elevation Bldg 13 drywall dust at entry during debris removal | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_083.JPG
83 | Fred Turner | Fred Turner | Building 13 1000 Main St. W elevation at NE Corner 1st St. 3 story steel braced frame with drywall interior damage | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_091.JPG
83 | Fred Turner | Fred Turner | Building 13 1000 Main St. W elevation at NE Corner 1st St. 3 story steel braced frame with drywall interior damage | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_092.JPG
84 | Fred Turner | Fred Turner |  | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_077.JPG
84 | Fred Turner | Fred Turner |  | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_093.JPG
84 | Fred Turner | Fred Turner | Bldg 14 1020 Main St. Opera House Green Tag City Winery 1030 Main St. | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_103.JPG
85 | Fred Turner | Fred Turner | Building 15 east elevation 1040 Main St. Senator Wolk and Thompson District Offices differential settlement toward Napa Creek | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_078.JPG
85 | Fred Turner | Fred Turner | Building 15 east elevation 1040 Main St. Senator Wolk and Thompson District Offices differential settlement toward Napa Creek | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_080.JPG
85 | Fred Turner | Fred Turner | Building 15 east elevation 1040 Main St. Senator Wolk and Thompson District Offices differential settlement toward Napa Creek | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_081.JPG
85 | Fred Turner | Fred Turner | Building 15 east elevation 1040 Main St. Senator Wolk and Thompson District Offices differential settlement toward Napa Creek upper balcony red taped and redtagged | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_082.JPG
85 | Fred Turner | Fred Turner | Building 15 West elevation 1040 Main St. Senator Wolk and Thompson District Offices 3 story masonry building with Steel Braced frame at 1st fl. | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_094.JPG
85 | Fred Turner | Fred Turner | Building 15 West elevation 1040 Main St. Senator Wolk and Thompson District Offices 3 story masonry building closeup of sliding at 2nd fl N End | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_095.JPG
85 | Fred Turner | Fred Turner | Building 15 West elevation 1040 Main St. Senator Wolk and Thompson District Offices 3 story masonry building closeup of sliding at 2nd fl Middle | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_096.JPG
85 | Fred Turner | Fred Turner | Building 15 West elevation 1040 Main St. Senator Wolk and Thompson District Offices 3 story masonry building closeup of sliding at 2nd fl S end Steel Braced frame crack at upper wall corner | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_097.JPG
85 | Fred Turner | Fred Turner | Pounding damage between 1040 and 1020 Main St. West Elev. | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_098.JPG
85 | Fred Turner | Fred Turner | Building 15 Northwest elevation 1040 Main St. Senator Wolk and Thompson District Offices 3 story masonry building with steel braced frame at first fl on W elev. Napa Creek on the left side | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_099.JPG
85 | Fred Turner | Fred Turner | Building 15 N elevation West End 1040 Main St. Senator Wolk and Thompson District Offices 3 story masonry building | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_100.JPG
85 | Fred Turner | Fred Turner | Building 15 North elevation East end 1040 Main St. Senator Wolk and Thompson District Offices 3 story masonry building | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_101.JPG
85 | Fred Turner | Fred Turner | Building 15 West elevation 1040 Main St. Senator Wolk and Thompson District Offices 3 story masonry building Yellow Tag | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_102.JPG
86 | Fred Turner | Fred Turner | Bldg 11 Downtown Joe's N Elev 902 Main St. | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_126.JPG
86 | Fred Turner | Fred Turner | Bldg 11 Downtown Joe's W Elev 902 Main St. | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_128.JPG
86 | Fred Turner | Fred Turner |  | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_129.JPG
86 | Fred Turner | Fred Turner | Bldg 11 Downtown Joe's S Elev E end 902 Main St. | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_130.JPG
87 | Fred Turner | Fred Turner | Bldg 29 Velo Pizzeria 807 Main St. E elev and Bldg 28 Fagiani's 813 Main St. E Elev with 810 Brown St upper E wall failure in the background viewed from Vet Mem Park | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_167.JPG
87 | Fred Turner | Fred Turner | Bldg 29 Velo Pizzeria 807 Main St. E elev and Bldg 28 Fagiani's 813 Main St. E Elev with 810 Brown St upper E wall failure in the background viewed from Vet Mem Park | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_168.JPG
87 | Fred Turner | Fred Turner | 807 Main St. E Elev Bldg 29 Velo Pizzeria Red yellow and Green tags, red prevailing at the moment due to adjacency falling risk from 810 Brown St. to the West | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_241.JPG
88 | Fred Turner | Fred Turner | Bldg 28 813 Main St. Fagiani's 3 story retrofitted URM building with a 1 story addition NE Elevation and M Caffe, Henry's on the right, Velo Pizzeria on the left | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_165.JPG
88 | Fred Turner | Fred Turner | Bldg 28 813 Main St. Fagiani's 3 story retrofitted URM building with a 1 story addition NE Elevation and M Caffe, Henry's on the right, Velo Pizzeria on the left | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_166.JPG
88 | Fred Turner | Fred Turner | Bldg 28 Fagiani's 813 Main St. SE Elev Closeup of throughbolts in lower wall | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_169.JPG
89 | Fred Turner | Fred Turner | Bldg 10 770-710 Main St. N Elev | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_134.JPG
89 | Fred Turner | Fred Turner |  | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_170.JPG
89 | Fred Turner | Fred Turner | 770 Main St. Green Tag Bldg 10 W Elev | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_242.JPG
89 | Fred Turner | Fred Turner | Bldg 10 770 Main St. E Elev | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_253.JPG
90 | Fred Turner | Fred Turner | 1700 2nd St. NE Elev Concrete cruciform ext walls CMU cladding over plaster walls below and on E Elev. | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_183.JPG
90 | Fred Turner | Fred Turner | 1700 2nd St. N Elev Concrete cruciform ext wall Closeup of top of wall at damaged soffit | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_184.JPG
90 | Fred Turner | Fred Turner | 1700 2nd St. N Elev Concrete cruciform ext wall Closeup of top of wall at damaged soffit | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_185.JPG
90 | Fred Turner | Fred Turner | 1700 2nd St. S Elev Middle Concrete cruciform ext walls | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_186.JPG
90 | Fred Turner | Fred Turner |  | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_187.JPG
90 | Fred Turner | Fred Turner |  | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_188.JPG
90 | Fred Turner | Fred Turner | 1700 2nd St. S Elev Middle Concrete cruciform ext walls damaged soffit at roof First American Title Co | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_189.JPG
90 | Fred Turner | Fred Turner | 1700 2nd St. S Elev Middle Concrete cruciform ext walls damaged soffit at roof First American Title Co | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_190.JPG
90 | Fred Turner | Fred Turner | 1700 2nd St. S Elev Middle Concrete cruciform ext walls damaged soffit at roof closeup of soffit undergoing removal of damage | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_191.JPG
90 | Fred Turner | Fred Turner | 1700 2nd St. S Elev Middle Concrete cruciform ext walls damaged soffit at roof closeup of soffit undergoing removal of damage open web steel roof joist framing and steel deck above | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_192.JPG
90 | Fred Turner | Fred Turner | 1700 2nd St. S Elev Middle Concrete cruciform ext walls damaged soffit at roof closeup of soffit undergoing removal of damage broken window at 2nd level | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_193.JPG
90 | Fred Turner | Fred Turner | 1700 2nd St. S Elev Middle Concrete cruciform ext walls damaged soffit at roof closeup of soffit undergoing removal of damage broken window at 2nd level | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_194.JPG
90 | Fred Turner | Fred Turner | 1700 2nd St. S Elev First American Title Co Sign closeup | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_195.JPG
90 | Fred Turner | Fred Turner |  | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_196.JPG
90 | Fred Turner | Fred Turner | 1700 2nd St. S Elev First American Title Co SW Elev. W wall is CMU veneer over plaster wall veneer being removed. Corner concrete cruxiform wall | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_197.JPG
90 | Fred Turner | Fred Turner |  | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_198.JPG
90 | Fred Turner | Fred Turner | 1700 2nd St. S Elev First American Title Co SW Elev. W wall is CMU veneer over plaster wall veneer being removed. Corner concrete cruxiform wall Scott Adan in foreground. | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_199.JPG
90 | Fred Turner | Fred Turner | 1700 2nd St. S Elev First American Title Co W Elev. W wall is CMU veneer over plaster stud wall veneer being removed. Nonstructural wall steps back at 1st fl. | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_200.JPG
90 | Fred Turner | Fred Turner |  | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_201.JPG
90 | Fred Turner | Fred Turner | 1700 2nd St. S Elev First American Title Co W Elev. W wall CMU veneer closeup of veneer tie. | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_202.JPG
90 | Fred Turner | Fred Turner | 1700 2nd St. S Elev First American Title Co W Elev. W wall CMU veneer closeup of veneer tie. | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_203.JPG
90 | Fred Turner | Fred Turner | 1700 2nd St. S Elev First American Title Co W Elev. W wall CMU veneer closeup of veneer tie. | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_204.JPG
90 | Fred Turner | Fred Turner | 1700 2nd St. S Elev First American Title Co W Elev. W wall after veneer removed showing plaster wall that is behind veneer. | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_205.JPG
90 | Fred Turner | Fred Turner | 1700 2nd St. S Elev First American Title Co W Elev. closeup of veneer tie and screw into plaster wall | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_206.JPG
90 | Fred Turner | Fred Turner | 1700 2nd St. S Elev First American Title Co S Elev. Yellow Tag | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_208.JPG
90 | Fred Turner | Fred Turner | 1700 2nd St. S Elev First American Title Co Red Tag for damage to stairs | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_209.JPG
90 | Fred Turner | Fred Turner | 1700 2nd St. S Elev First American Title Co S Elev. Yellow Tag | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_210.JPG
90 | Fred Turner | Fred Turner | 1700 2nd St. S Elev First American Title Co. Interior stair and soffit framing at intermediate landing above first fl. | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_211.JPG
90 | Fred Turner | Fred Turner | 1700 2nd St. S Elev First American Title Co. Interior stair and soffit framing closeup of 2nd fl landing stair stringer to fl connection | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_212.JPG
91 | Fred Turner | Fred Turner | 1455-1465 1st St. Steel Moment Frame dog bone 3 story 2009 construction drift damage predominantly in EW response direction. Courtyard view of N Wall. | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_213.JPG
91 | Fred Turner | Fred Turner | 1455-1465 1st St. Steel Moment Frame dog bone 3 story 2009 construction drift damage predominantly in EW response direction. Closeup of exterior finish cracking | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_214.JPG
91 | Fred Turner | Fred Turner | 1455-1465 1st St. Steel Moment Frame dog bone 3 story 2009. Closeup of 2nd level steel framing from below. | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_216.JPG
91 | Fred Turner | Fred Turner | 1455-1465 1st St. Steel Moment Frame dog bone 3 story 2009. Closeup of 2nd level steel framing from below. | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_217.JPG
91 | Fred Turner | Fred Turner | 1455-1465 1st St. Steel Moment Frame dog bone 3 story 2009. S Ext wall nonstructural damage due to excessive drift in E-W Dir. buckled studs. and residual drift. | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_218.JPG
91 | Fred Turner | Fred Turner | 1455-1465 1st St. Steel Moment Frame dog bone 3 story 2009. Closeup of 2nd level steel framing from below. | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_219.JPG
91 | Fred Turner | Fred Turner | 1455-1465 1st St. Steel Moment Frame dog bone 3 story 2009. Closeup of 2nd level steel framing from below. | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_220.JPG
91 | Fred Turner | Fred Turner | 1455-1465 1st St. Steel Moment Frame dog bone 3 story 2009. Closeup of 2nd level steel framing from below. | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_221.JPG
91 | Fred Turner | Fred Turner | 1455-1465 1st St. Steel Moment Frame dog bone 3 story 2009. Closeup of 2nd level steel framing from below. | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_222.JPG
91 | Fred Turner | Fred Turner | 1455-1465 1st St. Steel Moment Frame dog bone 3 story 2009. S Ext wall nonstructural damage due to excessive drift in E-W Dir. buckled studs. and residual drift. | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_223.JPG
92 | Fred Turner | Fred Turner | 588 Main St. S Elev W end Bldg 8 minor stucco damage at 2nd level. | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_243.JPG
92 | Fred Turner | Fred Turner | 588 Main St. S Elev E end Bldg 8 | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_244.JPG
92 | Fred Turner | Fred Turner | 588 Main St. W Elev S end Bldg 8 minor stucco damage at 2nd level. | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_250.JPG
92 | Fred Turner | Fred Turner | 588 Main St. W Elev S end Bldg 8 minor stucco damage at 2nd level. Closeup of cracks extending from window corners | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_251.JPG
92 | Fred Turner | Fred Turner | Bldg 8 650 Main St. W Elev N End 4 story wood frame over possible concrete podium unconfirmed | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/FredTurnerSoNapa_20140829_252.JPG
94 | Jeff Kovach | Jeff Kovach | Lighthouse Apartments | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/Picture3.jpg
94 | Jeff Kovach | Jeff Kovach | Lighthouse Apartments | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/Picture4.jpg
94 | Jeff Kovach | Jeff Kovach | Lighthouse Apartments | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/Picture5.jpg
94 | Jeff Kovach | Jeff Kovach | Lighthouse Apartments | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/Picture6.jpg
95 | Jeff Kovach | Jeff Kovach | 345 Tennessee | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/Picture7.jpg
95 | Jeff Kovach | Jeff Kovach | 345 Tennessee | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/Picture8.jpg
95 | Jeff Kovach | Jeff Kovach | 345 Tennessee | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/Picture9.jpg
95 | Jeff Kovach | Jeff Kovach | 345 Tennessee | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/Picture10.jpg
96 | Jeff Kovach | Jeff Kovach | 2277 Hwy 221 | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/Picture11jpg
96 | Jeff Kovach | Jeff Kovach | 2277 Hwy 221 | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/Picture12.jpg
96 | Jeff Kovach | Jeff Kovach | 2277 Hwy 221 | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/Picture13.jpg
96 | Jeff Kovach | Jeff Kovach | 2277 Hwy 221 | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/Picture14.jpg
96 | Jeff Kovach | Jeff Kovach | 2277 Hwy 221 | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/Picture15.jpg
96 | Jeff Kovach | Jeff Kovach | 2277 Hwy 221 | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/Picture16.jpg
96 | Jeff Kovach | Jeff Kovach | 2277 Hwy 221 | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/Picture27.jpg
96 | Jeff Kovach | Jeff Kovach | 2277 Hwy 221 | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/Picture28.jpg
96 | Jeff Kovach | Jeff Kovach | 2277 Hwy 221 | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/Picture29.jpg
96 | Jeff Kovach | Jeff Kovach | 2277 Hwy 221 | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/Picture30.jpg
97 | Jeff Kovach | Jeff Kovach | 2277 Hwy 221 | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/Picture17.jpg
97 | Jeff Kovach | Jeff Kovach | 2278 Hwy 221 | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/Picture18.jpg
97 | Jeff Kovach | Jeff Kovach | 2279 Hwy 221 | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/Picture19.jpg
97 | Jeff Kovach | Jeff Kovach | 2280 Hwy 221 | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/Picture20.jpg
97 | Jeff Kovach | Jeff Kovach | 2281 Hwy 221 | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/Picture21.jpg
97 | Jeff Kovach | Jeff Kovach | 2282 Hwy 221 | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/Picture22.jpg
97 | Jeff Kovach | Jeff Kovach | 2283 Hwy 221 | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/Picture23.jpg
97 | Jeff Kovach | Jeff Kovach | 2284 Hwy 221 | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/Picture24.jpg
97 | Jeff Kovach | Jeff Kovach | 2285 Hwy 221 | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/Picture25.jpg
97 | Jeff Kovach | Jeff Kovach | 2286 Hwy 221 | http://eqclearinghouse.org/map/2014-08-24-south-napa/photos/Picture26.jpg